## Table
PT for EPA Laboratory Approval Program
Fields of Proficiency Testing with PTRLs
Drinking Water
Effective October 6, 2014
|  |  |  | Blue = New Analyte | Magenta = Changes
Matrix | EPA | NELAC | Analyte | Conc Range | Acceptance Criteria |  |  |  | NELAC PTRL
| Analyte | Analyte |  |  | a | b | c | d
| Code | Code
|  |  | Microbiology | # of Cysts or Oocysts |  |  |  |  | # Cysts or Oocysts
Drinking Water |  | 2510 | Cryptosporidium | 50 to 200 | Mean ± 2 SD1, 2, 3, 4 |  |  |  | Not Applicable
Drinking Water |  | 2545 | Giardia | 50 to 200 | Mean ± 2 SD1, 2, 3, 4 |  |  |  | Not Applicable
1) If the lower acceptance limit generated using the criteria contained in this table is less than (<) 10% of the assigned value, the lower acceptance limits are set
at 10% of the assigned value.
2) If the lower acceptance limit generated using the criteria contained in this table is greater than (>) 60% of the assigned value, the lower acceptance limits are set
at 60% of the assigned value.
3) If the upper acceptance limit generated using the criteria contained in this table is less than (<) 105% of the assigned value, the upper acceptance limits are set
at 105% of the assigned value.
4) Quantitative Microbiology acceptance criteria are based on the robust participant Mean and Standard Deviation (SD) determined from each respective PT study.

## Change Log
Drinking Water (DW) - Protozoa - FoPT Table Change Log
Effective Date | Change
2014-10-06 | Formatting changes (color coding and logo) to standardize FoPT Tables (posted to website 10-16-2018)